## Slide 1: Second Lab report Lenses PHOE-160
Spring 2021
Prof. Samuel Serna

## Slide 2: Groups
  Group A1:
  Group A2:
  Group B1:
  Group B2:

## Slide 3: Certificates
Upload your BSU certificate to your Folder ASAP
Upload your OSHA certificate before next week

## Slide 4: Instructions
What is the material and what is the objective?
Safety first!
  Check the emission spectra of the red laser (the laser emitting red photons) and the googles you will use (Hint: Why will you be using the LG4?)
  Use plots
Some Elements:
  (Mounted) Source - CPS11K
  Source : CPS635R
  Lenses
  Mechanical mounts for the lenses – LMR1
  Post holders – PH2 and TR2
  Irises (if it is the case) or find a way to reference your height - ID20
  Photodetector (PD) – PM16-130
  To block the beam – EDU-VS1

## Slide 5: Procedure
Use a convergent lens and measure the power at different distances in the optical axis. Describe ALL your procedures in your OneDrive Lab Notebook.
Wear Gloves!

## Slide 6: Set-up

## Slide 7: Procedure
Measure the optical power with the powermeter and inspect the beam size with the screen and your cellphone camera.
Measure 15 points, 1 every cm. Remember to consider the focal distance.
Describe the spot and the power and explain the results using the theory of lenses.

## Slide 8: Additional Resources
https://ricktu288.github.io/ray-optics/
https://www.physicsclassroom.com/Physics-Interactives/Refraction-and-Lenses/Optics-Bench/Optics-Bench-Refraction-Interactive